## Slide 1: CDPHE UPDATES AND INFORMATION
Dr. Steve Cox DNP, RN
CDPHE/HFEMSD Branch Chief

## Slide 2: New CDPHE Resources
Survey Documentation
As part of a recent process improvement initiative, the Division evaluated opportunities to make the survey process more efficient for both healthcare providers and our survey staff. One area identified was the amount of time spent during surveys requesting and gathering documentation needed for review.
To help streamline the survey process, we have developed standardized documentation lists based on facility type. We respectfully request that your facility prepare these materials in advance and have them readily available in a single location at the start of the survey whenever possible.
While advance preparation of these documents is not a regulatory requirement, it is strongly encouraged as a best practice to help facilitate a timely, organized, and efficient survey. Our goal is to reduce the amount of time spent locating documentation during the survey, allowing both
facility staff and surveyors to focus on the survey process itself.
Assisted Living Residences Survey Documentation

## Slide 3: Chapter 2 Regulatory updates
The last update to Chapter 2 -Adopted by the Board of Health on June 18, 2025. Effective August 14, 2025.
No Surprises Act alignment: HB22-1284 required rule changes to Part 7 to better align state and federal law and regulations regarding the practice of “balance” or “surprise” billing.
Adoption of updated version of Facilities Guidelines Institute (FGI) Guidelines for the Design and Construction of Health Care Facilities: Chapter 2 rules are being modified to adopt a more current version of the guidelines. The guidelines published in 2018 will be replaced by guidelines published in 2022. Clarifying language is being added regarding the process for FGI review. In addition, current process rules are being updated to clarify existing Division practice as relates to the definitions of “addition” and “renovation” with regard to when an FGI review is necessary.
Clarification of existing rules: Edits to the licensure process rules include the addition of rules regarding receivership, ceasing operations, and temporary closure; the modification of rules regarding change of ownership; and the clarification of guideline compliance review processes. Edits to definitions, including the terms “addition” and “renovation,” deletions, and clarifications support other rule revisions.

## Slide 4
6 CCR 1011-1 Chapter 2 General Licensure
Part 3. General Building and Fire Safety Provisions
3.1 3.2 In the event that discrepancies between this Chapter 2 and other facility- or agency-specific regulations within 6 CCR 1011-1 concerning FGI Guidelines compliance exist, the facility- or agency-specific regulation shall apply.
3.2.3 Each facility or agency shall be in compliance with all applicable local zoning, housing, fire, and sanitary codes and ordinances of the city, city and county, or county where it is situated, to the extent that such codes and ordinances are consistent with federal law. All physical locations of a facility or agency shall be constructed and/or renovated in conformity with the standards adopted by the Director of the Division of Fire Prevention and Control (DFPC) at the Colorado Department of Public Safety, as applicable. (A) An applicant or licensee that is subject to fire prevention and life safety code requirements shall not provide services in areas subject to plan review, except as approved by DFPC. For any guideline compliance reviews of a facility or agency submitted on or after October 1, 2025, the 2022 Edition of the Facilities Guidelines Institute (FGI) Guidelines apply:
C) 3.2.4 For outpatient facilities, including but not limited to Ambulatory Surgery Centers, Community Clinics, Community Clinics and Emergency Centers , Freestanding Emergency Departments, Dialysis Treatment Clinics, and Birth Centers: Guidelines for Design and Construction of Outpatient Facilities; and For residential facilities, including but not limited to Assisted Living Residences, Facilities for Persons with Developmental Disabilities, Nursing Care Facilities, and Inpatient Hospices: Guidelines for Design and Construction of Residential Health, Care, and Support Facilities.

## Slide 5
3.2.4 For outpatient facilities, including but not limited to Ambulatory Surgery Centers, Community Clinics, Community Clinics and Emergency Centers , Freestanding Emergency Departments, Dialysis Treatment Clinics, and Birth Centers: Guidelines for Design and Construction of Outpatient Facilities; and For residential facilities, including but not limited to Assisted Living Residences, Facilities for Persons with Developmental Disabilities, Nursing Care Facilities, and Inpatient Hospices: Guidelines for Design and Construction of Residential Health, Care, and Support Facilities. Facilities and agencies are expected to maintain the facility to the FGI Guidelines under which the Department approved the facility’s or agency’s initial license, new construction, addition, or renovation until such time as a new guideline compliance review occurs as required by this Part 3.

## Slide 6: ALAC Updates
SBAR- FGI
Situation- The FGI process is increasing construction costs and increasing the time of both remodels and new construction for smaller ALR’s The idea was first brought up March 26th at the ALAC meeting. 16 beds and under seems to be a place where FGI becomes a diminished value and not as beneficial as for larger facilities.
Background- For Example The cost of the special Hopper sink has been an issue because of the expense and the ability to install the sink. Window placement for existing single family homes wanting to renovate increases costs. Older facilities have a number of projects to complete such as remodel the living area. Other examples include a buildout of a garage for additional bedrooms and kitchen remodel. FGI is required anytime a facility undergoes any renovations or construction.
Assessment- The FGI review process and the one size fits all situation is a barrier for improvement for older ALRs and for new construction of smaller homes
Recommendations- A request is made for the Department to review the pros and cons of the FGI process to ensure the added expense proportionally improves resident experience and outcome. Can the department consider a grandfather clause for a remodel or renovations. Can the Department add some additional exemptions to existing regulations for windows, hopper sinks or remodel of garages, living areas and kitchen remodel.

## Slide 7: Survey Trends, Findings and common deficiencies

## Slide 8: Deficiencies
Data from April 1, 2026- June 17, 2026
1568- Med/Med Orders cited 25 times
1150- Residential Care Services cited 25 times
1110- Res Care Services- Resident Agreement Cited 20 times
1604- Med/Med Administration Record Keeping Quarterly Audit- Cited 12 times
2230- HIR Content cited 11 times
3060- Secured Environment Enhanced Resident Care Plan cited 10 times
1410- Resident Rights Investigating Abuse, Neglect or injury of unknown origin Cited 9 times
0920- EM policy and Procedures cited 9 times
0734- Staff first Aid/CPR Cited 9 times
0240- Dept Oversight Access Client Records cited 8 times

## Slide 9: QUESTIONS?????
Dr. Steve Cox, DNP, RN
Branch Chief, Home and Community Facilities
CDPHE/HFEMSD